## Slide 1: Interior Point Methods Applied to Predispatch with Network Topology Manipulation Covering Bus and Transmission Lines Simultaneously
Aurelio Oliveira – UNICAMP
Silvia Maria S. Carvalho - UFSCar
Christiano Lyra- UNICAMP

## Slide 2: Brazilian System
Interconnected System
Predominantly Hydroelectric
Large Reservoirs
Isolated Systems ± 300 isolated locations Predominantly Thermoelectric

## Slide 3: National Interconnected System
Interconnections with about 84,000 kilometers of power lines;
Long transmission lines

## Slide 4: Why IPM?
Good performance on large problems
      Robust method;
      Fast convergence.
Primal-Dual IPM
  it is more efficient;
  Starting Point need not be feasible.

## Slide 5: Predispatch
  Operational Problem
    Short-Term;
    Meet demands and targets;
    Model
    Minimization of a quadratic function;
    Linear Constraints

## Slide 6: Dynamic Primal Model

## Slide 7: Dual

## Slide 8: Optimality Conditions
Primal Feasibility
Dual Feasibility
Complementarity conditions

## Slide 9: Newton Method
Applying Newton's method:
Jd=r
Where

## Slide 10: The directions from Newton
Variable substitution

## Slide 11: System to be solved

## Slide 12: Matrix structure study for the problem with modification in the network topology
Assuming that there were pre-programmed modification in the network topology i;
The matrix B is no longer constant;
Each modification performed, one row and one column of the matrix B are removed (inserted);

## Slide 13: Modifications
The modifications are conducted in an attempt to adapt the transmission network to the load change
They are usually held four to six modifications per day for the Brazilian System

## Slide 14: Types of Modifications
Lines Modification;
Bus Modification;
Line and Bus Modifications.

## Slide 15: Lines Modifications
A branch is removed from the system
The network topology is modified
Incidence and reactance matrix are modified

## Slide 16: Maneuvers Bars
Shutdown of a plant
Shutdown of a consumer center;
Change in demand.

## Slide 17: Simultaneous Bus and Lines Manipulatons
The bus and line manipulations executed simultaneously characterize more complex changes in the network.
A greater number of rows and columns from the incidence matrix and their respective reactances are removed.

## Slide 18: Implementation
Manipulations are given data;
studied networks
  IEEE30 and IEEE118
  BRAZIL1993 and BRAZIL3511

## Slide 19: Data from experiments
Variable Number of Manipulations
Developed in Matlab
Accuracy 10-3
Intel centrino core 2 duo
4 GB of RAM
Speed 2.13GHZ

## Slide 20: Initial Point

## Slide 21: IEEE30 System

## Slide 22: Sistema IEEE118

## Slide 23: BRAZIL 1993 System

## Slide 24: Brazil 3511 System
Real brazilian system

## Slide 25: Bus and Lines Modifications IEEE30 System

## Slide 26: Bars and Lines Manipulations IEEE118 System

## Slide 27: Bars and Lines Manipulations Brazil 1993 System

## Slide 28: Conclusions
From the computational point of view, the effort to solve a problem with or without such modifications on the network topology is similar;
B matrix can be factored before the interior point methods application;
The results obtained showed the adequacy of the methodology.
.